## Slide 1: Principles of Information Security
Sixth Edition
Chapter 9
Physical Security
Copyright © 2018 Cengage. May not be copied, scanned, or duplicated, in whole or in part, except for use as permitted in a license distributed with a certain product or service or otherwise on a password-protected website for classroom use.

## Slide 2: Learning Objectives
Upon completion of this material, you should be able to:
  Discuss the relationship between information security and physical security
  Describe key physical security considerations, including fire control and surveillance systems
  Identify critical physical environment considerations for computing facilities, including uninterruptible power supplies
Notes: Learning Objectives
Upon completion of this material, you should be able to:
  Discuss the relationship between information security and physical security
  Describe key physical security considerations, including fire control and surveillance systems
  Identify critical physical environment considerations for computing facilities, including uninterruptible power supplies

## Slide 3: Introduction (1 of 3)
Physical security involves the protection of physical items, objects, or areas from unauthorized access and misuse.
Most technology-based controls can be circumvented if an attacker gains physical access.
Physical security is as important as logical security.
Notes: Introduction
Physical security involves protection of physical items, objects, or areas from unauthorized access and misuse
Most technology-based controls can be circumvented if an attacker gains physical access
Physical security is as important as logical security

## Slide 4: Introduction (2 of 3)
Donn B. Parker’s seven major sources of physical loss:
  Extreme temperature: heat, cold
  Gases: war gases, commercial vapors, humid or dry air, suspended particles
  Liquids: water, chemicals
  Living organisms: viruses, bacteria, people, animals, insects
  Projectiles: tangible objects in motion, powered objects
  Movement: collapse, shearing, shaking, vibration, liquefaction, flow waves, separation, slide
Notes: Seven Major Sources of Physical Loss
From Donn B. Parker
Extreme temperature: heat, cold
Gases: war gases, commercial vapors, humid or dry air, suspended particles
Liquids: water, chemicals
Living organisms: viruses, bacteria, people, animals, insects
Projectiles: tangible objects in motion, powered objects
Movement: collapse, shearing, shaking, vibration, liquefaction, flows waves, separation, slide
Energy anomalies: electrical surge or failure, magnetism, static electricity, aging circuitry; radiation: sound, light, radio, microwave, electromagnetic, atomic

## Slide 5: Introduction (3 of 3)
  Energy anomalies: electrical surge or failure, magnetism, static electricity, aging circuitry; radiation: sound, light, radio, microwave, electromagnetic, atomic
Community roles:
  General management: responsible for facility security
  IT management and professionals: responsible for environmental and access security
  Information security management and professionals: perform risk assessments and implementation reviews
Notes: Introduction
Community roles
  General management: responsible for facility security
  IT management and professionals: responsible for environmental and access security
  Information security management and professionals: perform risk assessments and implementation reviews

## Slide 6: Physical Access Controls
Secure facility: physical location with controls implemented to minimize the risk of attacks from physical threats.
Secure facility can take advantage of natural terrain, local traffic flow, and surrounding development and can complement these with protection mechanisms (fences, gates, walls, guards, alarms).
Notes: Physical Access Controls
Secure facility: physical location with controls implemented to minimize risk of attacks from physical threats
Secure facility can take advantage of natural terrain, local traffic flow, and surrounding development; can complement these with protection mechanisms (fences, gates, walls, guards, alarms)

## Slide 7: Physical Security Controls (1 of 9)
Walls, fencing, and gates
Guards
Dogs
ID cards and badges
Locks and keys
Mantraps
Electronic monitoring
Alarms and alarm systems
Computer rooms and wiring closets
Interior walls and doors
Notes: Controls for Protecting the Secure Facility
There are a number of physical security controls and issues that the organization’s communities of interest should consider together when implementing physical security:
Walls, fencing, and gates
Guards to apply human reasoning
Dogs to provide their keen sense of smell and hearing and to be placed in harm’s way in lieu of humans
ID cards and badges
Locks and keys
Mantraps
Electronic monitoring
Alarms and alarm systems
Computer rooms
Walls and doors

## Slide 8: Physical Security Controls (2 of 9)
Walls, fencing, and gates
  Some of the oldest and most reliable elements of physical security; the essential starting point for perimeter control
Guards
  Can evaluate each situation as it arises to make reasoned responses; most have standard operating procedures
Dogs
  Keen sense of smell and hearing can detect intrusions that human guards cannot
Notes: Physical Security Controls
Walls, Fencing, and Gates
  Some of the oldest and most reliable elements of physical security; essential starting point for perimeter control
Guards
  Can evaluate each situation as it arises to make reasoned responses; most have standard operating procedures
Dogs
  Keen sense of smell and hearing can detect intrusions human guards cannot

## Slide 9: Physical Security Controls (3 of 9)
ID cards and badges
  ID card is typically concealed and name badge is visible
  Serve as a simple form of biometrics (facial recognition)
  Should not be the only means of control as cards can be easily duplicated, stolen, and modified
  Tailgating occurs when an authorized individual opens a door and other people also enter
Notes: ID Cards and Badges
  ID card is typically concealed; name badge is visible
  Serve as simple form of biometrics (facial recognition)
  Should not be only means of control as cards can be easily duplicated, stolen, and modified
  Tailgating occurs when authorized individual opens a door and other people also enter

## Slide 10: Physical Security Controls (4 of 9)
Locks and keys
  Two types of locks: mechanical and electromechanical
  Locks can also be divided into four categories: manual, programmable, electronic, biometric
  Locks fail and alternative procedures for controlling access must be put in place
  Locks fail in one of two ways:
    Fail-safe lock
    Fail-secure lock
Notes: Locks and Keys
  Two types of locks: mechanical and electromechanical
  Locks can also be divided into four categories: manual, programmable, electronic, biometric
  Locks fail and alternative procedures for controlling access must be put in place
  Locks fail in one of two ways:
    Fail-safe lock
    Fail-secure lock

## Slide 11: Physical Security Controls (5 of 9)
Mantraps
  Small enclosure that has an entry point and a different exit point.
  Individual enters mantrap, requests access, and, if verified, is allowed to exit mantrap into facility.
  Individual denied entry is not allowed to exit until the security official overrides automatic locks of the enclosure.
Notes: Mantraps
  Small enclosure that has entry point and different exit point
  Individual enters mantrap, requests access, and, if verified, is allowed to exit mantrap into facility
  Individual denied entry is not allowed to exit until security official overrides automatic locks of the enclosure

## Slide 12: Physical Security Controls (6 of 9)
Electronic monitoring
  Equipment can record events in areas where other types of physical controls are impractical
  May use cameras with video recorders; includes closed-circuit television (CCT) systems
  Drawbacks
    Passive; does not prevent access or prohibited activity
    Recordings often are not monitored in real time; must be reviewed to have any value
Notes: Electronic Monitoring
  Equipment can record events in areas where other types of physical controls are impractical
  May use cameras with video recorders; includes closed-circuit television (CCT) systems
  Drawbacks
    Passive; does not prevent access or prohibited activity
    Recordings often are not monitored in real time; must be reviewed to have any value

## Slide 13: Physical Security Controls (7 of 9)
Alarms and alarm systems
  Alarm systems notify people/systems when an event occurs
  Detect fire, intrusion, environmental disturbance, or an interruption in services
  Rely on sensors that detect an event, for example, motion detectors, thermal detectors, glass breakage detectors, weight sensors, and contact sensors
Notes: Alarms and Alarm Systems
  Alarm systems notify people/systems when an event occurs
  Detect fire, intrusion, environmental disturbance, or an interruption in services
  Rely on sensors that detect event; e.g., motion detectors, thermal detectors, glass breakage detectors, weight sensors, contact sensors

## Slide 14: Physical Security Controls (8 of 9)
Computer rooms and wiring closets
  Require special attention to ensure confidentiality, integrity, and availability of information.
  Logical access controls are easily defeated if attacker gains physical access to computing equipment.
  Custodial staff, often the least scrutinized people who have access to offices, are given greatest degree of unsupervised access.
Notes: Computer Rooms and Wiring Closets
  Require special attention to ensure confidentiality, integrity, and availability of information
  Logical access controls easily defeated if attacker gains physical access to computing equipment
  Custodial staff often the least scrutinized people who have access to offices; are given greatest degree of unsupervised access

## Slide 15: Physical Security Controls (9 of 9)
Interior walls and doors
  Information asset security is sometimes compromised by improper construction of facility walls and doors.
  Facility walls are typically either standard interior or firewall.
  High-security areas must have firewall-grade walls to provide physical security against potential intruders and fires.
  Doors allowing access to high-security rooms should be evaluated.
  To secure doors, install push or crash bars on computer rooms and closets.
Notes: Interior Walls and Doors
  Information asset security sometimes compromised by improper construction of facility walls and doors
  Facility walls typically either standard interior or firewall
  High-security areas must have firewall-grade walls to provide physical security against potential intruders and fires
  Doors allowing access to high security rooms should be evaluated
  To secure doors, install push or crash bars on computer rooms and closets

## Slide 16: Figure 9-1 Tailgating

## Slide 17: Figure 9-2 Locks

## Slide 18: Figure 9-3 Mantraps

## Slide 19: Fire Security and Safety
Most serious threat to safety of people who work in an organization is fire.
Fires account for more property damage, personal injury, and death than any other threat.
It is imperative that physical security plans implement strong measures to detect and respond to fires and fire hazards.
Notes: Fire Safety
Most serious threat to safety of people who work in an organization is fire
Fires account for more property damage, personal injury, and death than any other threat
Imperative that physical security plans implement strong measures to detect and respond to fires and fire hazards

## Slide 20: Fire Detection and Response (1 of 4)
Fire suppression systems: devices installed and maintained to detect and respond to a fire, potential fire, or combustion danger.
Flame point: temperature of ignition.
Deny an environment of temperature, fuel, or oxygen
  Water and water mist systems
  Carbon dioxide systems
  Soda acid systems
  Gas-based systems
Notes: Fire Detection and Response
Fire suppression systems: devices installed and maintained to detect and respond to a fire, potential fire, or combustion danger
Flame point: temperature of ignition
Deny an environment of temperature, fuel, or oxygen
  Water and water mist systems
  Carbon dioxide systems
  Soda acid systems
  Gas-based systems

## Slide 21: Fire Detection and Response (2 of 4)
Fire detection
  Fire detection systems fall into two general categories: manual and automatic
  To prevent an attacker slipping into offices during an evacuation, programs often designate a person from each office area to serve as a floor monitor
  There are three basic types of fire detection systems: thermal detection, smoke detection, flame detection
Notes: Fire Detection
  Fire detection systems fall into two general categories: manual and automatic
  To prevent attacker slipping into offices during an evacuation, programs often designate a person from each office area to serve as a floor monitor
  There are three basic types of fire detection systems: thermal detection, smoke detection, flame detection

## Slide 22: Fire Detection and Response (3 of 4)
Fire suppression
  Systems can consist of portable, manual, or automatic apparatus
  Portable extinguishers are rated by the type of fire: Class A, Class B, Class C, Class D, Class K
  Installed systems apply suppressive agents, usually either sprinkler or gaseous systems
Notes: Fire Suppression
Fire suppression systems can consist of portable, manual, or automatic apparatus. Portable extinguishers are rated by the type of fire:
Class A: Fires of ordinary combustible fuels. Use water and multipurpose, dry chemical fire extinguishers.
Class B: Fires fueled by combustible liquids or gases, such as solvents, gasoline, paint, lacquer, and oil. Use carbon dioxide, multipurpose dry chemical, and halon fire extinguishers.
Class C: Fires with energized electrical equipment or appliances. Use carbon dioxide, multi-purpose dry chemical, and halon fire extinguishers.
Class D: Fires fueled by combustible metals, such as magnesium, lithium, and sodium. Use special extinguishing agents and techniques.
Manual and automatic fire response can include installed systems designed to apply suppressive agents. These are usually either sprinkler or gaseous systems.
All sprinkler systems are designed to apply liquid, usually water, to all areas in which a fire has been detected.
In sprinkler systems, the organization can implement wet-pipe, dry-pipe, or pre-action systems.
Water mist sprinklers are the newest form of sprinkler systems and rely on ultra fine mists instead of traditional shower-type systems.

## Slide 23: Fire Detection and Response (4 of 4)
Gaseous emission systems
  Until recently, two types of systems: carbon dioxide and Halon
  Carbon dioxide removes fire’s oxygen supply
  Halon is clean but has been classified as an ozone-depleting substance; new installations are prohibited
  Alternative clean agents presented in Table 9-1 (found on page 521 in the text) are reported to be less effective than Halon
Notes: Gaseous Emission Systems
  Until recently, two types of systems: carbon dioxide and Halon
  Carbon dioxide removes fire’s oxygen supply
  Halon is clean but has been classified as an ozone-depleting substance; new installations are prohibited
  Alternative clean agents presented in Table 9-1, reported to be less effective than Halon

## Slide 24: Figure 9-4 Water sprinkler system
When the ambient temperature reaches 140-150°F, the liquid- filled glass tube trigger breaks, releasing the stopper and allowing water to hit the diffuser, spaying water throughout the area

## Slide 25: Figure 9-5 Gaseous fire suppression system (1 of 2)
System Components:
  Discharge nozzles
  Piping
  Control panel
  Discharge or warning alarms (s)
  Hazard warning or caution signs
  Automatic fire detection devices (s)
  Manual discharge station (s)
  Storage container (s) and extinguishing agent

## Slide 26: Figure 9-5 Gaseous fire suppression system (2 of 2)

## Slide 27: Failure of Supporting Utilities and Structural Collapse
Supporting utilities (heating, ventilation, and air conditioning; power; water) have significant impact on continued safe operation of a facility.
Each utility must be properly managed to prevent potential damage to information and information systems.
Notes: Failure of Supporting Utilities and Structural Collapse
Supporting utilities (heating, ventilation, and air conditioning; power; water) have significant impact on continued safe operation of a facility
Each utility must be properly managed to prevent potential damage to information and information systems

## Slide 28: Heating, Ventilation, and Air Conditioning (1 of 5)
Areas within heating, ventilation, and air conditioning (HVAC) systems that can cause damage to information systems include:
  Temperature
  Filtration
  Humidity
  Static electricity
Notes: Heating, Ventilation, and Air Conditioning
Although traditionally a facilities management responsibility, the operation of the heating, ventilation, and air conditioning (HVAC) system can have dramatic impact on information and information systems operations and protection.
Specifically there are four areas within the HVAC system that can cause damage to information-carrying systems: temperature, filtration, humidity, and static electricity.
Temperature
  Computer systems are electronic and as such are subject to damage from extreme temperature.
  Rapid changes in temperature, from hot to cold, or from cold to hot can produce condensation, which can create short circuits or otherwise damage systems and components.
  The optimal temperature for a computing environment (and people) is between 70 and 74 degrees Fahrenheit.
Humidity
  Humidity is the amount of moisture in the air.
  High humidity levels create condensation problems, and low humidity levels can increase the amount of static electricity in the environment.
  With condensation comes the short-circuiting of electrical equipment and the potential for mold and rot in paper-based information storage.
Static
  Static electricity is caused by a process called triboelectrification, which occurs when two materials are rubbed or touched and electrons are exchanged, resulting in one object becoming more positively changed and the other more negatively charged.
  When a third object with an opposite charge or ground is encountered, electrons flow again and a spark is produced.
  One of the leading causes of damage to sensitive circuitry is electro-static discharge (ESD).
Static
  Integrated circuits in a computer use between two and five volts of electricity.
  Voltage levels as low as 200 can cause microchip damage.
  Static electricity is not even noticeable to humans until levels approach 1,500 volts, and you can’t see the little blue spark until it approaches 4,000 volts.
  A person can generate up to 12,000 volts of static current by walking across a carpet.
Static
  Two types of failures can result from ESD damage to chips. Immediate failures, also known as catastrophic failures, occur right away and are usually totally destructive.
  Latent failures or delayed failures can occur weeks or even months after the damage is done.
  It is imperative to maintain the optimal level of humidity, which is between 40 and 60 percent in the computing environment. Humidity levels below this range create static, and levels above create condensation.

## Slide 29: Heating, Ventilation, and Air Conditioning (2 of 5)
Ventilation shafts
  While ductwork is small in residential buildings, in large commercial buildings, it can be large enough for an individual to climb through
  If ducts are large, security can install wire mesh grids at various points to compartmentalize the runs
Power management and conditioning
  Power systems used by information-processing equipment must be properly installed and correctly grounded
Notes: Ventilation Shafts
  While ductwork is small in residential buildings, in large commercial buildings it can be large enough for an individual to climb though
  If ducts are large, security can install wire mesh grids at various points to compartmentalize the runs
Power Management and Conditioning
  Power systems used by information-processing equipment must be properly installed and correctly grounded
  Noise that interferes with the normal 60 Hertz cycle can result in inaccurate time clocks or unreliable internal clocks inside CPU

## Slide 30: Heating, Ventilation, and Air Conditioning (3 of 5)
    Noise that interferes with the normal 60-Hertz cycle can result in inaccurate time clocks or unreliable internal clocks inside the CPU
Grounding and amperage
  Grounding ensures that the returning flow of current is properly discharged to ground
  Ground fault circuit interruption (GFIC) capable of quickly identifying and interrupting a ground fault
  Overloading a circuit can create a load exceeding electrical cable’s rating, increasing the risk of overheating and fire
Notes: Grounding and amperage
  Grounding ensures that returning flow of current is properly discharged to ground
  GFCI: capable of quickly identifying and interrupting a ground fault
  Overloading a circuit can create a load exceeding electrical cable’s rating, increasing risk of overheating and fire

## Slide 31: Heating, Ventilation, and Air Conditioning (4 of 5)
Uninterruptible power supply (UPS)
  In case of power outage, UPS is the backup power source for major computing systems
  Basic UPS configurations:
    Standby
    Line-interactive
    Standby online hybrid
    Standby ferroresonant
    Double conversion online
    Data conversion online
Notes: Uninterruptible power supply (UPS)
  In case of power outage, UPS is backup power source for major computing systems
  Basic UPS configurations:
    Standby
    Line-interactive
    Standby online hybrid
    Standby erroresonant
    Double conversion online
    Data conversion online

## Slide 32: Heating, Ventilation, and Air Conditioning (5 of 5)
Emergency shutoff
  Important aspect of power management is the ability to stop power immediately if the current represents a risk to human or machine safety
  Most computer rooms and wiring closets are equipped with an emergency power shutoff
Notes: Emergency Shutoff
  Important aspect of power management is ability to stop power immediately if the current represents a risk to human or machine safety
  Most computer rooms and wiring closets are equipped with an emergency power shutoff

## Slide 33: Table 9-1 Static Charge Damage in Computers
Voltage | Possible Damage
40 | High probability of damage to sensitive circuits and transistors
1.000 | Scrambles monitor display
1,500 | Can cause disk drive data loss
2,000 | High probability of system shutdown
4000 | May jam printers
17,000 | Causes certain and permanent damage to almost all microcircuitry

## Slide 34: Figure 9-6 Types of uninterruptible power supplies

## Slide 35: Water Problems
Lack of water poses problem to systems, including fire suppression and air-conditioning systems.
Surplus of water, or water pressure, poses a real threat (flooding, leaks).
Very important to integrate water detection systems into alarm systems that regulate overall facility operations.
Notes: Water Problems
Lack of water poses problem to systems, including fire suppression and air-conditioning systems
Surplus of water, or water pressure, poses a real threat (flooding, leaks)
Very important to integrate water detection systems into alarm systems that regulate overall facility operations

## Slide 36: Structural Collapse
Unavoidable environmental factors/forces can cause failures in structures that house an organization.
Structures are designed and constructed with specific load limits; overloading these limits results in structural failure and potential injury or loss of life.
Periodic inspections by qualified civil engineers assist in identifying potentially dangerous structural conditions.
Notes: Structural Collapse
Unavoidable environmental factors/forces can cause failures in structures that house organization
Structures designed and constructed with specific load limits; overloading these limits results in structural failure and potential injury or loss of life
Periodic inspections by qualified civil engineers assist in identifying potentially dangerous structural conditions

## Slide 37: Maintenance of Facility Systems
Physical security must be constantly documented, evaluated, and tested.
Documentation of facility’s configuration, operation, and function should be integrated into disaster recovery plans and standard operating procedures.
Testing helps improve the facility’s physical security and identify weak points.
Notes: Maintenance of Facility Systems
Physical security must be constantly documented, evaluated, and tested
Documentation of facility’s configuration, operation, and function should be integrated into disaster recovery plans and standard operating procedures
Testing helps improve the facility’s physical security and identify weak points

## Slide 38: Interception of Data
Three methods of data interception:
  Direct observation
  Interception of data transmission
  Electromagnetic interception
U.S. government developed TEMPEST program to reduce the risk of electromagnetic radiation (EMR) monitoring.
Notes: Interception of Data
Three methods of data interception:
  Direct observation
  Interception of data transmission
  Electromagnetic interception
U.S. government developed TEMPEST program to reduce risk of electromagnetic radiation (EMR) monitoring

## Slide 39: Securing Mobile and Portable Systems (1 of 2)
Mobile computing requires more security than typical computing infrastructures on the organization’s premises.
Many mobile computing systems
  Have corporate information stored within them.
  Are configured to facilitate user’s access into organization’s secure computing facilities.
Notes: Securing Mobile and Portable Systems
Mobile computing requires more security than typical computing infrastructures on organization’s premises
Many mobile computing systems
  Have corporate information stored within them
  Some are configured to facilitate user’s access into organization’s secure computing facilities

## Slide 40: Securing Mobile and Portable Systems (2 of 2)
Controls support security and retrieval of lost or stolen laptops
  CompuTrace software, stored on laptop; reports to a central monitoring center
  Burglar alarms are made up of a PC card that contains a motion detector
Notes: Securing Mobile and Portable Systems (continued)
Controls support security and retrieval of lost or stolen laptops
  CompuTrace software, stored on laptop; reports to a central monitoring center
  Burglar alarms made up of a PC card that contains a motion detector

## Slide 41: Figure 9-7 Laptop recovery

## Slide 42: Remote Computing Security
Remote site computing involves variety of computing sites outside the organization’s main facility.
Telecommuting: off-site computing using Internet, dial-up, or leased point-to-point links.
Employees may need to access networks on business trips; telecommuters need access from home systems or satellite offices.
Telecommuter’s computers must be made more secure than organization’s systems.
Notes: Remote Computing Security
Remote site computing involves variety of computing sites outside organization’s main facility
Telecommuting: off-site computing using Internet, dial-up, or leased point-to-point links
Employees may need to access networks on business trips; telecommuters need access from home systems or satellite offices
Telecommuter’s computers must be made more secure than organization’s systems

## Slide 43: Special Considerations for Physical Security Threats
Develop physical security in-house or outsource?
  Many qualified and professional agencies
  Benefit of outsourcing includes gaining experience and knowledge of agencies
  Downside includes high expense, loss of control over individual components, and level of trust that must be placed in another company
Social engineering: use of people skills to obtain information from employees that should not be released
Notes: Special Considerations for Physical Security Threats
Develop physical security in-house or outsource?
  Many qualified and professional agencies
  Benefit of outsourcing includes gaining experience and knowledge of agencies
  Downside includes high expense, loss of control over individual components, and level of trust that must be placed in another company
Social engineering: use of people skills to obtain information from employees that should not be released

## Slide 44: Inventory Management
Computing equipment should be inventoried and inspected on a regular basis.
Classified information should also be inventoried and managed.
Physical security of computing equipment, data storage media, and classified documents varies for each organization.
Notes: Inventory Management
As with other organizational resources, computing equipment should be inventoried and inspected on a regular basis. Similarly classified information should also be inventoried and managed.
Whenever a classified document is reproduced, a stamp should be placed on the original before it is copied.
This stamp states the document’s classification level and document number for tracking.
Each classified copy is issued to its receiver, who signs for the document.

## Slide 45: Summary
Threats to information security that are unique to physical security
Key physical security considerations in a facility site
Physical security monitoring components
Essential elements of access control
Fire safety, fire detection, and response
Importance of supporting utilities, especially use of uninterruptible power supplies
Countermeasures to physical theft of computing devices